## PL-1
ATTACHMENT 01/ ĐÍNH KÈM 01: MTO/ DANH MỤC HÀNG HÓA (Đính kèm Kế hoạch mua sắm số: 16/KHCH-STG3)
Seq/ Stt | Tag Name/ Tên thiết bị | Desciption/ Thông tin | Size (DI)/ Kích thước (DI) | Q'ty/ Số lượng | Drawing/ Bản vẽ | Page/ Trang | Manufacture/ Nhà sản xuất | Remark/ Ghi chú
I | Expansion Joint
1 | 113-Y-9302B | Expansion Joint | 32 | 1 | MGF-REJ-A4958-3358-11 | 1 | Mega Flexon
2 | 113-FMT-9301 | Flexible Joint | 8 | 1 | MGF-MFJ-A5362-3762-02 | 1 | Mega Flexon
II | Steam Trap
1 | 00S-ST-P020 | Line steam trap (HHP) | 0.75 | 1 | VS216G-206-A-006 | 4 | Amstrong International Korea
2 | 113-ST-0003 | STEAM TRAP | 2 | 1 | VS216G-206-A-004 | 7 | Amstrong International Korea
III | Spring Support
1 | 113-CH5-0051 | Special support for spring | 14 | 1 | VS216K-704-A-203 | 4 | Bergen Pipe Support
2 | 113-CH5-0034 | Special support for spring | 16 | 1 | VS216K-704-A-203 | 1 | Bergen Pipe Support
3 | 113-CH5-0035 | Special support for spring | 16 | 1 | VS216K-704-A-203 | 2 | Bergen Pipe Support
4 | 113-CH5-0036 | Special support for spring | 3 | 1 | VS216K-704-A-203 | 3 | Bergen Pipe Support
IV | Desuperheater
1 | 113-ST-301-DS01 | De-superheater | 6 | 1 | VS216G-203-A-021 VS216G-203-A-022 |  | Copes-Vulcan
V | Hose
1 | UHC-1001 | Service water hose connection | 0.75 | 1 | VS216G-612-A-901 | 1 | Matec Group S.r.l
2 | UHC-3001 | Plant air hose connection | 0.75 | 1 | VS216G-612-A-901 | 3 | Matec Group S.r.l
3 | UHC-2001 | LP Steam hose connection | 1 | 1 | VS216G-612-A-901 | 2 | Matec Group S.r.l
VI | Strainer
1 | 113-STR-9304 | Strainer | 1 | 1 | VS216G-201-A-207 | 1 | CDB
2 | 113-STR-9305A | Strainer | 1 | 1 | VS216G-201-A-207 | 1 | CDB
3 | 113-STR-9305B | Strainer | 1 | 1 | VS216G-201-A-207 | 1 | CDB
VII | Temperature Regulating Valve
1 | 113-TCV-7353 | Temperature Control Valve | 3 | 1 | VS2158-412-A-152 | 53 | Conquer Auto Valve