## Biểu mẫu chào giá
ĐÍNH KÈM 04: BIỂU MẪU CHÀO GIÁ
Stt | Tên thiết bị | Mã thiết bị | Loại thiết bị | Tải trọng | Số lượng | Đơn giá VND | Thành tiền VND
I | Bảo dưỡng định kỳ
1 | 01393-Crane For STG | P0SMM01AE001 | OVERHEAD | 145/30 | 1
2 | 01598-Overhead Crane-STG (10 tons) | P0SMM02AE001 | OVERHEAD | 10 | 1
3 | 06366-Crane For Intake Facilities | P0SMP02AE001 | GANTRY | 10 | 1
4 | 06367-Crane For CWP | P0SMP01AE001 | GANTRY | 45 / 10 | 1
5 | 01052-Lifting Device for Pulverizer A | P1SMH02AZ001-1 | ELECTRIC HOIST | 15 | 1
6 | 01053-Lifting Device for Pulverizer B | P1SMH02AZ001-2 | ELECTRIC HOIST | 15 | 1
7 | 02218-Electric Monorail Hoist SCR A | P1HSD11AE001 | ELECTRIC HOIST | 3 | 1
8 | 02219-Electric Monorail Hoist SCR B | P1HSD12AE001 | ELECTRIC HOIST | 3 | 1
9 | 03979-Lifting Device for B.R Pump A | P1SMH02AZ007-1 | ELECTRIC HOIST | 7.5 | 1
10 | 03980-Lifting Device for B.R Pump B | P1SMH02AZ007-2 | ELECTRIC HOIST | 7.5 | 1
11 | 03983-Lifting device for ESP | P1HDE20AE101 | ELECTRIC HOIST | 2 | 1
12 | 03984-Lifting device for ESP | P1HDE10AE101 | ELECTRIC HOIST | 2 | 1
13 | 04161-Coal & Oil Burner A1 - A5 | - | Chain Block | 3 | 1
14 | 04162-Coal & Oil Burner A1 - A5 | - | Chain Block | 3 | 1
15 | 04163-Coal & Oil Burner B1 - B5 | - | Chain Block | 3 | 1
16 | 04164-Coal & Oil Burner B1 - B5 | - | Chain Block | 3 | 1
17 | 04165-Coal & Oil Burner C1 - C5 | - | Chain Block | 3 | 1
18 | 04166-Coal & Oil Burner C1 - C5 | - | Chain Block | 3 | 1
19 | 04167-Coal & Oil Burner D1 - D5 | - | Chain Block | 3 | 1
20 | 04168-Coal & Oil Burner D1 - D5 | - | Chain Block | 3 | 1
21 | 04169-Coal & Oil Burner E1 - E5 | - | Chain Block | 3 | 1
22 | 04170-Coal & Oil Burner E1 - E5 | - | Chain Block | 3 | 1
23 | 04171-Coal & Oil Burner F1 - F5 | - | Chain Block | 3 | 1
24 | 04172-Coal & Oil Burner F1 - F5 | - | Chain Block | 3 | 1
25 | 04173-Monorail Chain Block Hoist SCR A | P1HSD13AE001 | Manual Chain Block | 3 | 1
26 | 04174-Monorail Chain Block Hoist SCR B | P1HSD14AE001 | Manual Chain Block | 3 | 1
27 | 04175-Mill Seal Air Fan A | - | Chain Block | 3 | 1
28 | 04176-Mill Seal Air Fan B | - | Chain Block | 3 | 1
29 | 05032-Absorber agitator hoist | P1HTA01LD001 | MANUAL HOIST | 1 | 1
30 | 05033-Damper Seal Air Fan Hoist | P1HTA01LD003 | MANUAL HOIST | 1 | 1
31 | 06337-Lifting Device Gas A/H Baskets A | P1SMH02AZ006-1 | ELECTRIC HOIST | 3 | 1
32 | 06338-Lifting Device Gas A/H Baskets B | P1SMH02AZ006-2 | ELECTRIC HOIST | 3 | 1
33 | 07451-Lifting Device for I.D Fan motor A | P1SMH02AZ004-1 | ELECTRIC HOIST | 20 | 1
34 | 07452-Lifting Device for I.D Fan motor B | P1SMH02AZ004-2 | ELECTRIC HOIST | 20 | 1
35 | 07453-Lifting Device for I.D Fan motor C | P1SMH02AZ004-3 | ELECTRIC HOIST | 20 | 1
36 | 07454-Lifting Device for I.D Fan motor D | P1SMH02AZ004-4 | ELECTRIC HOIST | 20 | 1
37 | 07455-Lifting Device for I.D Fan rotor B | P1SMH02AZ005-2 | ELECTRIC HOIST | 15 | 1
38 | 07456-Lifting Device for I.D Fan rotor A | P1SMH02AZ005-1 | ELECTRIC HOIST | 15 | 1
39 | 07462-Lifting Device for P.A Fan motor & rotor A | P1SMH02AZ003-1 | ELECTRIC HOIST | 20 | 1
40 | 07463-Lifting Device for P.A Fan motor & rotor B | P1SMH02AZ003-2 | ELECTRIC HOIST | 20 | 1
41 | 07464-Lifting Device for F.D Fan motor A | P1SMH02AZ002-1 | ELECTRIC HOIST | 15 | 1
42 | 07465-Lifting Device for F.D Fan motor B | P1SMH02AZ002-2 | ELECTRIC HOIST | 15 | 1
43 | 07466-Lifting Device for F.D Fan Rotor A | P1SMH02AZ008-1 | ELECTRIC HOIST | 3 | 1
44 | 07467-Lifting Device for F.D Fan Rotor B | P1SMH02AZ008-2 | ELECTRIC HOIST | 3 | 1
45 | 07471-Lifting Device for Boiler Top | P1SMH02AZ009-1 | ELECTRIC HOIST | 3 | 1
46 | 07474-Common Chain Block | - | Chain Block | 2 | 1
47 | 07475-Common Chain Block | - | Chain Block | 2 | 1
48 | 07476-Lifting device for GGH Equ. Hoist | P1HTA01LD002 | ELECTRIC HOIST | 3 | 1
49 | 07477-Lifting device for GGH Equ. Hoist | P1HTA01LD004 | ELECTRIC HOIST | 3 | 1
50 | 07481-Hoist For ACWP | P1SMU05AE001 | MANUAL HOIST | 5 | 1
51 | 07666-HOIST FOR CCWP (UNIT#1) | P1SMU04AE001 | ELECTRIC HOIST | 7.5 | 1
52 | 08052-Hoist For CPP | P1SMU08AE001 | MANUAL HOIST | 2 | 1
53 | 08059-ARP Suspension Crane | P1HTF01LD001 | ELECTRIC HOIST | 10 | 1
54 | 08501-Crane For BFP | P1SML01AE001 | OVERHEAD | 45 | 1
55 | 09427-Fly ASH Silo (EL 11.30 M) | P1ETH11AE001 | Chain Block | 2 | 1
56 | 09429-Fly ASH Silo Top | P1ETH10AE001 | Chain Block | 2 | 1
57 | 09811-Hoist For CWVP | P1SMU07AE001 | MANUAL HOIST | 1 | 1
58 | 09812-Hoist For CWVP | P1SMU07AE002 | MANUAL HOIST | 1 | 1
59 | 09815-Bottom ASH Silo Top | P1ETB10AE001 | Chain Block | 2 | 1
60 | 09816-Hoist For CVP | P1SMU06AE001 | MANUAL HOIST | 5 | 1
61 | 09817-Hoist For CVP | P1SMU06AE002 | MANUAL HOIST | 5 | 1
62 | 09818-Hoist For CVP | P1SMU06AE003 | MANUAL HOIST | 2 | 1
63 | 09927-Crusher Tower | P1ETA10AE001 | Chain Block | 2 | 1
64 | 09928-SDCC SUMP PIT | P1ETA10AE003 | Chain Block | 2 | 1
65 | 09929-Bottom ASH Silo Sump Pit | P1ETA10AE002 | Chain Block | 2 | 1
66 | NH3 Facility(Sump Pump) | P0HSJ11AE001 | Chain Block | 2 | 1
67 | NH3 Facility(Unloading Compressor) | P0HSJ11AE002 | Chain Block | 2 | 1
68 | NH3 Facility(Vaporizer) | P0HSJ11AE003 | Chain Block | 2 | 1
69 | Lifting Device for Pulverizer A | P2SMH02AZ001-1 | ELECTRIC HOIST | 15 | 1
70 | Lifting Device for Pulverizer B | P2SMH02AZ001-2 | ELECTRIC HOIST | 15 | 1
71 | Lifting Device Gas A/H Baskets A | P2SMH02AZ006-1 | ELECTRIC HOIST | 3 | 1
72 | Lifting Device Gas A/H Baskets B | P2SMH02AZ006-2 | ELECTRIC HOIST | 3 | 1
73 | CRUSHER TOWER | P2ETA10AE001 | Chain Block | 3 | 1
74 | BOTTOM ASH SILO SUMP PIT | P2ETA10AE003 | Chain Block | 2 | 1
Tổng cộng
III | Bảo trì khắc phục
STT | Vị trí |  | DVT |  | Số lượng | Đơn giá VND | Ghi chú
1 | Mechanical Engineer/ Kỹ sư cơ khí |  | Người/ngày |  | 1
2 | Electrical Engineer/ Kỹ sư điện |  | Người/ngày |  | 1
3 | C&I Engineer/ Kỹ sư C&I |  | Người/ngày |  | 1
4 | Mechanical Technician/ Kỹ thuật viên cơ khí |  | Người/ngày |  | 1
5 | Electrical Technician/ Kỹ thuật viên Điện |  | Người/ngày |  | 1
6 | C&I Technician/ Kỹ thuật viên C&I |  | Người/ngày |  | 1
ĐIỀU KIỆN CHÀO GIÁ
I | Bảo dưỡng định kỳ
1. Đơn giá không bao gồm: - Thuế giá trị gia tăng VAT - Chứng chỉ kiểm định ( Loadtest) - Vật tư thay thế
2. Đơn giá bao gồm chi phí nhân công, máy móc, thiết bị, công cụ dụng cụ, vật tư tiêu hao. Các loại chi phí, bảo hiểm (nhân sự, máy móc, thiết bị), thuế, phí/lệ phí khác để thực hiện dịch vụ tại địa điểm yêu cầu của PTSC Thanh Hóa
II | Bảo trì khắc phục
Đơn giá nhân công áp dụng cho thời gian làm việc từ thứ 2 đến thứ 6: 8h/ ngày + Ca đêm = 130% đơn giá ca ngày Tăng ca: + T2-T6 = 150% đơn giá làm việc ngày thường + T7&CN = 200% đơn giá làm việc ngày thường + Ngày lễ = 300% đơn giá làm việc ngày thường Đơn giá nhân công chưa bao gồm VAT Đơn giá nhân công bao toàn bộ chi phí/ thuế liên quan bao gồm tiền lương, công, bảo hiểm,...chi phí ăn, ở, chi phí di chuyển hàng ngày tới công trường nhà máy Nhiệt điện 2 Nghi Sơn
Thanh toán: Thanh toán 100% giá trị thực hiện trong vòng 30 ngày từ ngày hoàn thành công việc và bàn giao hồ sơ
Hiệu lực chào giá: 60 ngày từ ngày chào giá
…......... Ngày….......tháng….....năm 2026
ĐẠI DIỆN NHÀ THẦU PHỤ