## Total
EXPANDSION NGHI SON PETROLEUM STORAGE PHASE 2 MTO BOLTS, NUTS FOR PROCESS, FIRE FIGHTING SYSTEM AND TANK
No. | Piping Class | Type | Description | Size | Material | Unit | Require Q'ty | Spare Q'ty | Total | Refer Doc. | Remark
1 | 1A1 | Bolt & Nut | 110 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1, B16.5 & B18.2.2 | 3/4'' | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 264 | 27 | 291
2 | 1A1 | Bolt & Nut | 110 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1, B16.5 & B18.2.2 | 3/4" | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 8 | 1 | 9
3 | 1A1 | Bolt & Nut | 110 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1, B16.5 & B18.2.2 | 5/8" | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 8 | 1 | 9
4 | 1A1 | Bolt & Nut | 115 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1, B16.5 & B18.2.2 | 3/4" | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 56 | 6 | 62
5 | 1A1 | Bolt & Nut | 60 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1, B16.5 & B18.2.2 | 3/4" | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 496 | 50 | 546
6 | 1A1 | Bolt & Nut | 80 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1, B16.5 & B18.2.2 | 1/2'' | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 8 | 1 | 9
7 | 1A1 | Bolt & Nut | 85 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1, B16.5 & B18.2.2 | 5/8'' | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 8 | 1 | 9
8 | 1A1 | Bolt & Nut | 90 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1, B16.5 & B18.2.2 | 5/8'' | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 136 | 14 | 150
9 | 1A1 | Bolt & Nut | 90 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1, B16.5 & B18.2.2 | 5/8" | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 108 | 11 | 119
10 | 1A1 | Bolt & Nut | 100 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1,B16.5 & B18.2.2 | 3/4'' | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 72 | 8 | 80
11 | 1A1 | Bolt & Nut | 100 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1,B16.5 & B18.2.2 | 3/4" | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 32 | 4 | 36
12 | 1A1 | Bolt & Nut | 70 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1,B16.5 & B18.2.2 | 1/2'' | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 4 | 1 | 5
13 | 1A1 | Bolt & Nut | 70 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1,B16.5 & B18.2.2 | 1/2" | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 4 | 1 | 5
14 | 1A2 | Bolt & Nut | 100 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1,B16.5 & B18.2.2 | 3/4'' | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 16 | 2 | 18
15 | 1A2 | Bolt & Nut | 100 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1,B16.5 & B18.2.2 | 5/8'' | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 16 | 2 | 18
16 | 1A2 | Bolt & Nut | 110 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1, B16.5 & B18.2.2 | 3/4'' | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 16 | 2 | 18
17 | 1A2 | Bolt & Nut | 160 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1, B16.5 & B18.2.2 | 5/8'' | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 56 | 6 | 62
18 | 1A2 | Bolt & Nut | 65 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1, B16.5 & B18.2.2 | 1/2'' | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 8 | 1 | 9
19 | 1A2 | Bolt & Nut | 80 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1,B16.5 & B18.2.2 | 1/2'' | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 4 | 1 | 5
20 | 1A2 | Bolt & Nut | 85 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1,B16.5 & B18.2.2 | 5/8'' | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 20 | 2 | 22
21 | 1A2 | Bolt & Nut | 90 MM LONG STUD BOLT FULLY THREADED WITH 2 HEAVY HEX NUTS ASME B1.1,B16.5 & B18.2.2 | 5/8'' | ASTM A193 Gr.B7 / A194 Gr.2H | Set | 72 | 8 | 80
22 |  | Bolt & Nut for Tank | Stub Bolt 3/4"X100L | 3/4"X100L | A193 Gr.B7/A194 Gr.2H | Set | 32 | 4 | 36
23 |  | Bolt & Nut for Tank | Stub Bolt 3/4"X110L | 3/4"X110L | A193 Gr.B7/A194 Gr.2H | Set | 16 | 4 | 20
24 |  | Bolt & Nut for Tank | Stub Bolt 3/4"x115L | 3/4"x115L | A193 Gr.B7/A194 Gr.2H | Set | 56 | 8 | 64
25 |  | Bolt & Nut for Tank | Stub Bolt 5/8"x90L | 5/8"x90L | A193 Gr.B7/A194 Gr.2H | Set | 124 | 16 | 140
26 |  | Bolt & Nut for Tank | Stub Bolt 3/4"x60L | 3/4"x60L | A193 Gr.B7/A194 Gr.2H | Set | 496 | 54 | 550
27 |  | Bolt & Nut for Tank | U-Bolt U-BOLT 3" x M12 | U-BOLT 3" x M12 | SS304 | Set | 27 | 3 | 30
28 |  | Bolt & Nut for Tank | U-Bolt U-BOLT 4" x M12 | U-BOLT 4" x M12 | SS304 | Set | 9 | 1 | 10
29 |  | Bolt & Nut for Tank | U-Bolt U-BOLT 8" x M16 | U-BOLT 8" x M16 | SS304 | Set | 8 | 1 | 9
30 |  | Bolt & Nut for Tank | U-Bolt U-BOLT 12" x M24 | U-BOLT 12" x M24 | SS304 | Set | 1 | 1 | 2
31 |  | Bolt & Nut for Tank | Eye Bolt + Nut M20x250L | M20x250L | A193 Gr.B7/A194 Gr.2H | Set | 2 | 2 | 4
32 |  | Bolt & Nut for Tank | Expansion Bolt M16 | M16 | A325 Type.1/ A563M Gr.10S | Set | 2 | 2 | 4
33 |  | Bolt & Nut for Tank | BOLT C/W HEX.NUTS M12x35 | M12x35 | A325 Type.1/ A563M Gr.10S | Set | 288 | 32 | 320
34 |  | Bolt & Nut for Tank | BOLT C/W HEX.NUTS M16x55 | M16x55 | A325 Type.1/ A563M Gr.10S | Set | 148 | 16 | 164
35 |  | Bolt & Nut for Tank | Anchor Bolt M36x1104L | M36x1104L | A307 GR.B/A563 GR.B | Set | 32 | 4 | 36
36 |  | Ubolt 6" | Ubolt 6" | 6" | A36 mạ kẽm | Pcs | 1 | 1 | 2 |  | Bolt , Nuts for Pipe Support | G-01
37 |  | Ubolt 8" | Ubolt 8" | 8" | A36 mạ kẽm | Pcs | 1 | 1 | 2 |  | Bolt , Nuts for Pipe Support | G-01
38 |  | Ubolt 8" | Ubolt 8" | 8" | A36 mạ kẽm | Pcs | 2 | 1 | 3 |  | Bolt , Nuts for Pipe Support | G-02
39 |  | Ubolt 6" | Ubolt 6" | 6" | A36 mạ kẽm | Pcs | 2 | 1 | 3 |  | Bolt , Nuts for Pipe Support | G-03
40 |  | Ubolt 6" | Ubolt 6" | 6" | A36 mạ kẽm | Pcs | 12 | 2 | 14 |  | Bolt , Nuts for Pipe Support | G-04
41 |  | Ubolt 3" | Ubolt 3" | 3" | A36 mạ kẽm | Pcs | 2 | 1 | 3 |  | Bolt , Nuts for Pipe Support | G-05
42 |  | Ubolt 8" | Ubolt 8" | 8" | A36 mạ kẽm | Pcs | 1 | 1 | 2 |  | Bolt , Nuts for Pipe Support | G-06
43 |  | Ubolt 1" | Ubolt 1" | 1" | A36 mạ kẽm | Pcs | 1 | 1 | 2 |  | Bolt , Nuts for Pipe Support | G-06
44 |  | Ubolt 2" | Ubolt 2" | 2" | A36 mạ kẽm | Pcs | 2 | 1 | 3 |  | Bolt , Nuts for Pipe Support | G-10
45 |  | Ubolt 8" | Ubolt 8" | 8" | A36 mạ kẽm | Pcs | 2 | 1 | 3 |  | Bolt , Nuts for Pipe Support | G-11
46 |  | Ubolt 8" | Ubolt 8" | 8" | A36 mạ kẽm | Pcs | 1 | 1 | 2 |  | Bolt , Nuts for Pipe Support | G-12
47 |  | Ubolt 8" | Ubolt 8" | 8" | A36 mạ kẽm | Pcs | 10 | 1 | 11 |  | Bolt , Nuts for Pipe Support | G-13
48 |  | Ubolt 4" | Ubolt 4" | 4" | A36 mạ kẽm | Pcs | 20 | 2 | 22 |  | Bolt , Nuts for Pipe Support | G-14
49 |  | Ubolt 8" | Ubolt 8" | 8" | A36 mạ kẽm | Pcs | 20 | 2 | 22 |  | Bolt , Nuts for Pipe Support | G-14
50 |  | Ubolt 4" | Ubolt 4" | 4" | A36 mạ kẽm | Pcs | 2 | 1 | 3 |  | Bolt , Nuts for Pipe Support | G-07
51 |  | Expansion bolt | Expansion bolt | M16x150 | A36 mạ kẽm | Set | 2 | 1 | 3 |  | Bolt , Nuts for Pipe Support | G-07
52 |  | Ubolt 4" | Ubolt 4" | 4" | A36 mạ kẽm | Pcs | 1 | 1 | 2 |  | Bolt , Nuts for Pipe Support | G-08
53 |  | Bolt 1 hex head + Nuts | Bolt 1 hex head + Nuts | M16x40 | A36 mạ kẽm | Set | 1 | 1 | 2 |  | Bolt , Nuts for Pipe Support | G-08
54 |  | Ubolt 4" | Ubolt 4" | 4" | A36 mạ kẽm | Pcs | 1 | 1 | 2 |  | Bolt , Nuts for Pipe Support | G-09
55 |  | Ubolt 4" | Ubolt 4" | 4" | A36 mạ kẽm | Pcs | 3 | 1 | 4 |  | Bolt , Nuts for Pipe Support | G-15
56 |  | Bolt 1 hex head + Nuts | Bolt 1 hex head + Nuts | M16x40 | A36 mạ kẽm | Set | 2 | 1 | 3 |  | Bolt , Nuts for Pipe Support | G-09
57 |  |  | Threaded Rod M16 |  |  | m | 140 | 14 | 154 |  | Bolt , Nuts for Pipe Support
58 |  |  | Nuts M16 |  | A36 mạ kẽm | Pcs | 360 | 36 | 396 |  | Bolt , Nuts for Pipe Support