## YCKT
ĐÍNH KÈM 03- YÊU CẦU KỸ THUẬT/ ATTACHMENT 03-TECHNICAL REQUIREMENT (Đính kèm kế hoạch mua sắm số: 69/KHCH-STG3)
KEY: (C) = "COMPLIANT"; (A) = "ACCEPTABLE"; (N) = ''NOT COMPLAINT"; (NA) = "NOT ACCEPTABLE"; (I) = "FOR INFORMATION"
DESCRIPTION AND PROJECT REQUIREMENT
Item | Criteria | Specification Requirement | Company | Status
A | GENERAL REQUIREMENTS
1 | Quotation Reference and Date | Bidder to advice, Quotation shall be submit to PTSC Thanh Hoa no later than 10h00 on Jun 04, 2026
2 | Delivery time as per the requirement | Maximum 05 weeks from the date of contract signing
3 | Guarantee period | From delivery date to 30/11/2029 or 24 months from Project's IA whichever comes earlier
4 | Document to be submitted with Goods
| Certificate of Conformity (COC) issued by the Manufacturer Chứng nhận xuất xưởng (COC) do Nhà sản xuất cấp | Bidder to submit at delivery date
| Certificate of Quality (CQ) issued by the Manufacturer Chứng chỉ chất lượng của hàng hóa (CQ) được phát hành bởi Nhà sản xuất | Bidder to submit at delivery date
| Certificate of Hot-dip Galvanizing in accordance with ASTM A123/A153 Chứng chỉ mạ kẽm nhúng nóng theo tiêu chuẩn ASTM A123/A153 | Bidder to submit at delivery date
| Mill Test Certificate of manufacturing materials in accordance with JIS G255/30/100 Chứng chỉ kiểm tra xuất xưởng của vật liệu theo tiêu chuẩn JIS G255/30/100 (Mill Test Certificate JIS G255/30/100) | Bidder to submit at delivery date
| Guarantee Letter/ Thư bảo hành | - Guarantee period: as item 1.3 above - Benefitciaries: PTSC Thanh Hoa and NSRP
B | SCOPE OF SUPPLY
1 | Scope of supply | As per Scope of Supply in Attachment 01 MTO
2 | Transportation and Shipping | DDP Term Delivery Location: NSRP Refinery/ PRSC Thanh Hoa warehouse
C | TECHNICAL REQUIREMENT
1 | Material/ Equipment | - All the materials/ equipment, (Exx-stock or new) shall have completed document required. - Materical shall be 100% new, unused, free of damage, sharp edges and defects - Meet all requirement in RFQ
2 | Manufacture/ Origin | - Material origin shall not be from China, Taiwan, India, or South Africa - The Bidder may propose Manufacturers that meet the technical requirements specified in the RFQ; however, selecting Manufacturers listed in Attachment 2 will be considered an advantage
Note: All criteria shall be status (A) or (C) is acceptable