## YCKT
ĐÍNH KÈM 03- YÊU CẦU KỸ THUẬT/ ATTACHMENT 03-TECHNICAL REQUIREMENT (Đính kèm kế hoạch mua sắm số: 76/KHCH-STG3)
DESCRIPTION AND PROJECT REQUIREMENT
Item | Criteria | Specification Requirement | Company's Status
A | GENERAL REQUIREMENTS
1 | Quotation Reference and Date | Bidder to advice, Quotation shall be submit to PTSC Thanh Hoa no later than 10h00 on Jul 02, 2026
2 | Delivery time as per the requirement | Maximum 10 weeks from the date of contract signing
3 | Guarantee period | From delivery date to 30/11/2029 or 24 months from Project's IA whichever comes earlier
4 | Document to be submitted with Goods
| Certificate of Origin (CO) issued by Chamber of Commerce/ Chứng chỉ xuất xứ hàng hóa (CO) phát hành bởi phòng thương mại quốc gia sản xuất | Bidder to submit at delivery date
| Certificate of Quality (CQ) and/or Certificate of Conformity (COC) issued by the Manufacturer Chứng chỉ chất lượng của hàng hóa (CQ và/hoặc Chứng nhận xuất xưởng (COC) được phát hành bởi Nhà sản xuất | Bidder to submit at delivery date
| Packing List, B/L, unpriced Customs Declaration for imported items Bản sao y có đóng dấu của đơn vị nhập khẩu trực tiếp cho (Packing List, Vận đơn và tờ khai Hải Quan xóa giá) đối với hàng hoá nhập khẩu | Bidder to submit at delivery date
| Mill Test Certificate of manufacturing materials in accordance with EN 10204 Type 3.1 for Copper Lugs Chứng chỉ kiểm tra xuất xưởng của vật liệu theo tiêu chuẩn JIS EN 10204 Type 3.1 (Mill Test Certificate EN 10204 Type 3.1) | Bidder to submit at delivery date
| Guarantee Letter/ Thư bảo hành | - Guarantee period: as item 1.3 above - Benefitciaries: PTSC Thanh Hoa and NSRP
B | SCOPE OF SUPPLY
1 | Scope of supply | As per Scope of Supply in Attachment 01 MTO
2 | Transportation and Shipping | DDP Term Delivery Location: NSRP Refinery/ PRSC Thanh Hoa warehouse
C | TECHNICAL REQUIREMENT
1 | Material/ Equipment | - All the materials/ equipment, (Exx-stock or new) shall have completed document required. - Materical shall be 100% new, unused, free of damage, sharp edges and defects - Meet all requirement in RFQ
2 | Manufacture/ Origin | - Material origin shall not be from China, Taiwan, India, or South Africa - The Bidder may propose Manufacturers that meet the technical requirements specified in the RFQ; however, selecting Manufacturers listed in Attachment 2 will be considered an advantage