## MTO
ĐÍNH KÈM 01: DANH MỤC HÀNG HÓA /ATTACHMENT 01-MTO Gói thầu: Mua sắm vật tư Valve và spare part phục vụ dự án STG#3
Seq/ Stt | Material Description / Mô tả vật tư | Maximo Item/ Mã vật tư | Unit/ Đơn vị | Q'ty/ Số lượng | Origin/Xuất xứ Manufacture/Nhà sản xuất | Delivery Time | Remark
1 | KSF-10R, SAFETY & RELIEF VALVE BODY:A216WCB,TRIM:SS316, SPRING:C.S+Ni Plated 3" x 4" ANSI 150# RF | VA-06-017 | Pc | 2 | KOREA SPECIAL METAL CO., LTD/KOREA | 30 days - Đợt 1
2 | 2-VALVE MANIFOLD S316-M2VTV8N 1/2"NPT.F Block Type | VA-08-005 | Pc | 1 | HY-LOK/KOREA | 30 days - Đợt 1
3 | AL-140 15A Safety Relief Valve JIS RC SCS/SCS Setting Pressure: 0.2MPa | VA-06-015 | Pc | 1 | YOSHITAKE/JAPAN | 30 days - Đợt 1
4 | HFC-4211-25-AS1 | VA-01-008 | Pc | 1 | HIROSE VALVE/JAPAN | 30 days - Đợt 1
5 | NEEDLE VALVE S316-NV4F-8N 1/2"NPT.F | VA-07-005 | Pc | 2 | HY-LOK/KOREA | 30 days - Đợt 1
6 | 2-VALVE MANIFOLD S316-M2VTV8N 1/2"NPT.F Block Type | VA-08-005 | Pc | 1 | HY-LOK/KOREA | 30 days - Đợt 1
7 | SAFETY VALVE Model: FSV-2F(N) Body: WCB Trim: SCS13/CF8 Pressure seting: 0.5~22 bar Ends: Flanged ANSI#150 Size: 1 1/2"x2 1/2" | VA-06-016 | Pc | 1 | YNV/KOREA | 30 days - Đợt 1
8 | TOMBO No.1210-A φ165 x φ190 x 2T | OM-01-021 | Pc | 3 | NICHIAS/JAPAN | 30 days - Đợt 1
9 | TOMBO No.1210-A φ113 x φ140 x 2T | OM-01-022 | Pc | 2 | NICHIAS/JAPAN | 30 days - Đợt 1
10 | Butterfly 5" / ANSI 150# SEAT RING (PTFE) | OM-01-023 | Pc | 2 | DJV-DEA JUNG VALVE CO, LTD/KOREA | 30 days - Đợt 1
11 | Butterfly 5" / ANSI 150# V-PACKING (Teflon) | OM-01-024 | Pc | 2 | DJV-DEA JUNG VALVE CO, LTD/KOREA | 30 days - Đợt 1
12 | Butterfly 5" / ANSI 150# GASKET (PTFE) | OM-01-025 | Pc | 2 | DJV-DEA JUNG VALVE CO, LTD/KOREA | 30 days - Đợt 1
13 | GATE VALVE CLASS 800, A182-F304L/316 Gate VALVE, B.B, OS&Y, SW 3/4" | VA-01-003 | Set | 2 | DONG KANG METAL CO., LTD/KOREA | 110 days - Đợt 3
14 | GATE VALVE CLASS 800, A182-F304L/316 GATE VALVE, B.B, OS&Y, SW 1/2" | VA-02-028 | Set | 4 | DONG KANG METAL CO., LTD/KOREA | 110 days - Đợt 3
15 | GLOBE VALVE CLASS 800, A182-F304L/316 Globe VALVE, B.B, OS&Y, SW 1/2" | VA-01-004 | Set | 2 | DONG KANG METAL CO., LTD/KOREA | 110 days - Đợt 3
16 | GASKET,AN186x164x150x4.5,316L+GR | OM-01-038 | Pc | 2 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
17 | PACKING,38.8x26x6.4,GR | OM-01-027 | Pc | 6 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
18 | PACKING,38.8x26x6.4,316L+GR | OM-01-028 | Pc | 4 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
19 | PACKING,47.8x32x7.9,GR | OM-01-029 | Pc | 3 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
20 | PACKING,47.8x32x7.9,316L+GR | OM-01-030 | Pc | 2 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
21 | GASKET,AN172x152x140x4.5,316L+GR | OM-01-028 | Pc | 1 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
22 | GASKET,AN238x216x202x4.5,316L+GR | OM-01-032 | Pc | 1 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
23 | PACKING,47.8x32x7.9,GR | OM-01-029 | Pc | 3 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
24 | PACKING,47.8x32x7.9,GR | OM-01-029 | Pc | 2 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
25 | GASKET,ANW299x288x270x256x4.5,316+GR(316L+ graphite) | OM-01-034 | Pc | 2 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
26 | PLUG,M28x1.5-SH,F6a | OM-01-035 | Pc | 2 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
27 | WASHER,B29x1,08 mm | OM-01-036 | Pc | 2 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
28 | GASKET,A26x20.5x2.5,316+GR(316L+ graphite) | OM-01-037 | Pc | 2 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
29 | GASKET,AN186x164x150x4.5,316L+GR | OM-01-038 | Pc | 2 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
30 | PACKING,38.8x26x6.4,GR | OM-01-039 | Pc | 6 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
30.1 | PACKING,38.8x26x6.4,316L+GR | OM-01-040 | Pc | 4 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
31 | GASKET,BJT220x112x14x3,08F+GR (Corrugated Gasket) | OM-01-041 | Pc | 2 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
32 | PACKING,45.8x30x7.9,GR | OM-01-042 | Pc | 6 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
32.1 | PACKING,45.8x30x7.9,316L+GR T02690 | OM-01-043 | Pc | 4 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
33 | GASKET,BJT278x140x14x3,08F+GR (Corrugated Gasket) | OM-01-044 | Pc | 7 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
34 | PACKING,47.8x32x7.9,GR | OM-01-045 | Pc | 21 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
34.1 | PACKING,47.8x32x7.9,316L+GR | OM-01-046 | Pc | 14 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
35 | GASKET,BJT278x140x14x3,08F+GR (Corrugated Gasket) | OM-01-047 | Pc | 3 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
36 | PACKING,47.8x32x7.9,GR | OM-01-048 | Pc | 9 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
36.1 | PACKING,47.8x32x7.9,316L+GR | OM-01-049 | Pc | 6 | NEWAY VALVE (SUZHOU)/CHINA NICHAS/JAPAN | 70 days - Đợt 2
37 | Food Grade Buna-N seat.P/N 200600 92801560 | OM-01-050 | Pc | 8 | BRAY/CHINA | 30 days - Đợt 1
38 | S31 6", Stem repair kit.P/N 200500 21801536 | OM-01-051 | Pc | 8 | BRAY/CHINA | 30 days - Đợt 1
39 | Globe valve ASTM A351 Grade CF8C Class 2500 API 600 BW Sch80S Trim SS347 PSB-BG-OS&Y Gear operated Fluid-2 Fluid-5 GASKET: 3'' (SS316 / 347) | OM-01-052 | Pc | 2 | L&T VALVES/INDIA | 30 days - Đợt 1
40 | Globe valve ASTM A351 Grade CF8C Class 2500 API 600 BW Sch80S Trim SS347 PSB-BG-OS&Y Gear operated Fluid-2 Fluid-5 PACKING: 3'' (REFER NOTE 9) | OM-01-053 | Pc | 2 | L&T VALVES/INDIA | 30 days - Đợt 1
41 | Gate valve ASTM A351 Grade CF8 Class 150 API 600 Flange ASME B16.5 RF Trim number 12 BB-BG-OS&Y Handwheel operated GASKET: 3'' (GRAPHITE WITH SS316 INSERT) | OM-01-054 | Pc | 1 | L&T VALVES/INDIA | 30 days - Đợt 1
42 | Gate valve ASTM A351 Grade CF8 Class 150 API 600 Flange ASME B16.5 RF Trim number 12 BB-BG-OS&Y Handwheel operated PACKING: 3'' (GRAPHITE WITH BRAIDED END RINGS) | OM-01-055 | Pc | 1 | L&T VALVES/INDIA | 30 days - Đợt 1
43 | SEAL RING, Position 2.2 SEAL RING UNS S31803 + GRAPHITE, Qty: 1pc | OM-01-056 | Pc | 1 | IMI ORTON/ ITALY | 70 days - Đợt 2
44 | SEAL RING RETAINING SCREW, Position 2.4 ISO 3506 A2 (AISI 304) | OM-01-057 | Set | 1 | IMI ORTON/ ITALY | 70 days - Đợt 2
45 | BODY BOTTOM FLANGE GASKET, Position 4.1 UNS S31600 + GRAPHITE, Qty: 1pc | OM-01-058 | Pc | 1 | IMI ORTON/ ITALY | 70 days - Đợt 2
46 | BODY BEARING PROTECTOR RING, Position 5 SHAFT PACKING HIGH DENSITY GRAPH. (H.D.G.) | OM-01-059 | Pc | 1 | IMI ORTON/ ITALY | 70 days - Đợt 2
47 | SHAFT PACKING, Position 7.1 BODY BEARING PROTECTOR RING HIGH DENSITY GRAPH. (H.D.G.), | OM-01-060 | Pc | 1 | IMI ORTON/ ITALY | 70 days - Đợt 2
48 | GATE V/V A182-F304L/316+HF #800 SW BB OS&Y R.B | VA-02-029 | Pc | 3 | DONG KANG METAL CO., LTD/KOREA | 110 days - Đợt 3
49 | GATE V/V A182-F304L/316+HF #800 SW BB OS&Y R.B | VA-02-028 | Pc | 2 | DONG KANG METAL CO., LTD/KOREA | 110 days - Đợt 3
50 | GLOBE V/V A182-F304L/316+HF #800 SW BB OS&Y R.B | VA-01-004 | Pc | 4 | DONG KANG METAL CO., LTD/KOREA | 110 days - Đợt 3
51 | NEEDLE VALVE / S316-NV2H-8M / 8mmOD | VA-07-004 | Pc | 2 | HY-LOK/KOREA | 110 days - Đợt 3
52 | 2-VALVE MANIFOLD / S316-M2VTV8N / NPT.F Block Type | VA-08-005 | Pc | 5 | HY-LOK/KOREA | 110 days - Đợt 3
53 | 5-VALVE MANIFOLD / S316-M5VDMATV8N / Single Block Flange | VA-08-006 | Pc | 1 | HY-LOK/KOREA | 110 days - Đợt 3
54 | HF-4211-25-23-AS1 | VA-01-005 | Pc | 2 | HIROSE VALVE INDUSTRY CO. LTD/JAPAN | 110 days - Đợt 3
55 | HF-4211-20-23-AS1 | VA-01-006 | Pc | 2 | HIROSE VALVE INDUSTRY CO. LTD/JAPAN | 110 days - Đợt 3
56 | HF-4211-15-23-AS1 | VA-01-007 | Pc | 1 | HIROSE VALVE INDUSTRY CO. LTD/JAPAN | 70 days - Đợt 2
57 | HFC-4211-25-AS1 | VA-01-008 | Pc | 2 | HIROSE VALVE INDUSTRY CO. LTD/JAPAN | 70 days - Đợt 2
58 | DT8P1-03-20-10-JA-J 3/8 In-line type Check Valve | VA-05-006 | Pc | 1 | TOKIMEC/JAPAN | 70 days - Đợt 2
59 | CIT-03-04 50 In-line Check Valve | VA-05-007 | Pc | 2 | YUKEN/JAPAN | 70 days - Đợt 2
60 | ST1004-5 10 Air Bleed Valve | VA-07-006 | Pc | 2 | YUKEN/JAPAN | 110 days - Đợt 3
61 | GATE V/V A182-F304L/316+HF #800 SW BB OS&Y R.B | VA-02-029 | Pc | 2 | DONG KANG METAL CO., LTD/KOREA | 110 days - Đợt 3
62 | SWING CHECK V/V A182-F304L/316+HF #800 SW BC R.B | VA-05-005 | Pc | 1 | DONG KANG METAL CO., LTD/KOREA | 110 days - Đợt 3
63 | GATE V/V A105/13CR #800 SW BB OS&Y R.B | VA-02-030 | Pc | 1 | DONG KANG METAL CO., LTD/KOREA | 110 days - Đợt 3
64 | NEEDLE VALVE / S316-NV4F-8N / NPT.F | VA-07-004 | Pc | 9 | HY-LOK/KOREA | 110 days - Đợt 3
65 | 2-VALVE MANIFOLD / S316-M2VTV8N / NPT.F Block Type | VA-08-005 | Pc | 4 | HY-LOK/KOREA | 110 days - Đợt 3
66 | 5-VALVE MANIFOLD / S316-M5VDMATV8N / Single Block Flange | VA-08-006 | Pc | 2 | HY-LOK/KOREA | 110 days - Đợt 3
5%

## Type (hidden)
COMMISSIONING
DAILY MAINTENANCE
DEFECT HANDLING CAUSED BY NSRP
DEFECT HANDLING CAUSED BY JGCS
WAREHOUSE OPERATION
WORKSHOP OPERATION
LENT TO JGCS TO HANDLE URGENT DEFECT – TO BE RETURNED (NEW PARTS) BY JGCS
OTHER - IF SO PLEASE SPECIFIC