## MTO For Process & MTO For Fire
PROJECT: EXPANSION OF 40,000M³ STORAGE CAPACITY AT PETEC HAI PHONG
PTSC Thanh Hoa | [9 empty] | NCC
No. | NAME | PIPING CLASS | SIZE 1 | SIZE 2 | SIZE 3 | DESSCRIPTION | MATERIAL | UNIT | Q.TY | PIPING CLASS | SIZE 1 | SIZE 2 | SIZE 3 | DESSCRIPTION | MATERIAL | UNIT | Q.TY | UNIT PRICE (VNĐ) | AMOUT (vnđ) | Q.TY | REMARK
I | MTO For Process | [7 empty] | 30
1 | FILTER | 1A1 | 300 | 300 | 0 | BASKET FILTER FLG #150 BY MFR - STANDARD: ANSI/API - CASE: CAST BASKET STRAINER, ASME SECTION VIII, DIV1 - BODY, COVER: ASTM A216 Gr. WCB - SCREEN HOLDER : 20 MESH, SS304 - END CONNECTION: ANSI #150 RF, B16.5 - PRESSURE: 10 BAR - TEMPERATURE: < 100°C | CS | Pcs | 1
2 | FILTER | 1A1 | 200 | 200 | 0 | BASKET FILTER FLG #150 BY MFR - STANDARD: ANSI/API - CASE: CAST BASKET STRAINER, ASME SECTION VIII, DIV1 - BODY, COVER: ASTM A216 Gr. WCB - SCREEN HOLDER : 20 MESH, SS304 - END CONNECTION: ANSI #150 RF, B16.5 - PRESSURE: 10 BAR - TEMPERATURE: < 100°C | CS | Pcs | 4
3 | QUICK COUPLING | 1A1 | 100 | 100 | 0 | QUICK COUPLING MALE FLG #150 BY MFR | CS | Pcs | 4
4 | FLEXIBLE HOSE | 1A1 | 300 | 300 | 0 | FLEXIBLE 0.5M LENGTH, FLG #150 ASME B16.5, MATERIAL: - BRAID : SS316 - CORRUGATED HOSE: ASTM A240 Gr. 316 - END SLEEVE: ASTM A312 Gr. TP316 - FLANGE: ASTM A105N |  | Pcs | 1
5 | FLEXIBLE HOSE | 1A1 | 250 | 250 | 0 | FLEXIBLE 0.5M LENGTH, FLG #150 ASME B16.5, MATERIAL: - BRAID : SS316 - CORRUGATED HOSE: ASTM A240 Gr. 316 - END SLEEVE: ASTM A312 Gr. TP316 - FLANGE: ASTM A105N |  | Pcs | 4
6 | FLEXIBLE HOSE | 1A1 | 200 | 200 | 0 | FLEXIBLE 0.5M LENGTH, FLG #150 ASME B16.5, MATERIAL: - BRAID : SS316 - CORRUGATED HOSE: ASTM A240 Gr. 316 - END SLEEVE: ASTM A312 Gr. TP316 - FLANGE: ASTM A105N |  | Pcs | 9
7 | FLEXIBLE HOSE | 1A1 | 150 | 150 | 0 | FLEXIBLE 0.5M LENGTH, FLG #150 ASME B16.5, MATERIAL: - BRAID : SS316 - CORRUGATED HOSE: ASTM A240 Gr. 316 - END SLEEVE: ASTM A312 Gr. TP316 - FLANGE: ASTM A105N |  | Pcs | 6
8 | FLEXIBLE HOSE | 1A1 | 150 | 150 | 0 | FLEXIBLE 4M LENGTH, FLG RF ASME B16.5 ONE SIDE, QUICK COUPLING FEMALE TYPE OTHER SIDE, MATERIAL: - CORRUGATED HOSE : ASTM A240 Gr. 316 - END SLEEVE: ASTM A312 Gr. TP316 - QUICK COUPLING: ASTM A182 Gr. F316 - FLANGE: ASTM A105N |  | Pcs | 1
II | MTO For Fire Fighting | [7 empty] | 6
1 | FLEXIBLE HOSE | 1A2 | 100 | 100 | 0 | FLEXIBLE 0.5M LENGTH, FLG #150 ASME B16.5, MATERIAL: - BRAID : SS316 - CORRUGATED HOSE: ASTM A240 Gr. 316 - END SLEEVE: ASTM A312 Gr. TP316 - FLANGE: ASTM A105N |  | Pcs | 1
2 | FLEXIBLE HOSE | 1A2 | 200 | 200 | 0 | FLEXIBLE 0.5M LENGTH, FLG #150 ASME B16.5, MATERIAL: - BRAID : SS316 - CORRUGATED HOSE: ASTM A240 Gr. 316 - END SLEEVE: ASTM A312 Gr. TP316 - FLANGE: ASTM A105N |  | Pcs | 4
3 | FLEXIBLE HOSE | 1A2 | 150 | 150 | 0 | FOOT VALVE FLG-RF #150 ASME B16.5 BY MFR | A234 GR.WPB | Pcs | 1
CHI CHÚ
A | Điều kiện báo giá kỹ thuật
1 | Company Profile Brochure
2 | Material Data Sheet
3 | Fabrication Drawings
4 | Performance & Test Procedure
5 | FAT Reports
6 | Inspection & Test Plan
7 | Material Mill Test Certificate
8 | Vendor Data Index & Schedule
9 | Packing List
10 | Certificate of Compliance (CoC)
11 | Test Certificate
12 | Xuất xứ
B | Điều kiện báo giá thương mại
13 | Thuế VAT:
14 | Phí vận chuyển:
16 | Điều kiện thanh toán: Tạm ứng 30% ngay sau khi ký Hợp đồng , thanh toán 70% còn lại trong vòng 45 ngày sau khi nghiệm thu bàn giao hàng hóa.
17 | Thời gian giao hàng: 10/Jan/2026
18 | Bảo hành: 18 tháng
19 | Hiệu lực báo giá: tối thiểu 30 ngày